# SECTION 802 − STORM SEWERS

802-1 DESCRIPTION

This item shall consist of pipe and related items of the types, classes, sizes, and dimensions required on the plans, furnished and installed at the places designated on the plans and profiles, or by the ENGINEER, in accordance with these specifications and with the lines and grades given.

The bid price per linear foot of pipe in place shall include the cost of excavation and backfill, the cost of furnishing and installing all trench bracing, all fittings required to complete the pipe drain, as shown on the plans, and the material for and the making of all joints, including all connections to existing drainage pipe and manholes.

"Unstable," "Unsuitable," "Suitable," and "Unsatisfactory" soil or aggregate items shall be defined as stated in Section 202-1.

802-2	MATERIALS

802-2.1  GENERAL.  The pipe shall be of the type called for on the plans or in the proposal and shall be in accordance with the following appropriate requirements.

802-2.2  REINFORCED CONCRETE STORM SEWER PIPE.  Reinforced concrete storm sewer pipe shall conform to the requirements of ASTM C76.

Unless otherwise specified, all pipe shall be Class III for 24-inch and smaller and Class II for 27-inch and larger in accordance with ASTM C76, Wall B.

All pipe sections shall be cast in sections 8 feet, 6 feet, or 4 feet long, except that the variable length sections may be cast in order to match at manholes and inlets.

802-2.3  POLYVINYL CHLORIDE STORM SEWER PIPE.  Polyvinyl chloride storm sewer (PVC) pipe 15 inches or smaller shall conform to the requirements of ASTM D3034 for type PSM, PVC sewer pipe and shall have an SDR of 35, all of which shall be stamped on the pipe.  Polyvinyl chloride sewer pipe 18 inches or larger shall conform to the requirements of ASTM F679-PS46.  PVC sewer shall have the elastomeric gasket type joint providing a watertight seal.

802-2.4  CORRUGATED STEEL STORM SEWER PIPE.  Corrugated steel storm sewer pipe shall have a zinc coating weight of 2 ounces per square foot and shall conform to the requirements of AASHTO M36.  This material may be used if approved by the ENGINEER.

802-2.5 CORRUGATED POLYETHYLENE STORM SEWER PIPE Corrugated Polyethylene Storm Sewer pipe shall be of the quality to that manufactured by ADS/Hancor or an approved equal.  The pipe shall have a smooth interior and annular exterior corrugations.  The 4-inch to 60-inch pipe with integral bell and spigot joints shall conform to ASTM F2306.  The joint shall be soil tight and gaskets shall conform to ASTM F477.  Fittings shall conform to ASTM F2306.  Bell and spigot connections shall utilize a spun-on or welded bell.  Valley or saddle gaskets shall meet the soil-tight performance requirements of ASTM F477.

802-2.6  RIBBED POLYVINYL CHLORIDE STORM SEWER PIPE.  Ribbed polyvinyl chloride storm sewer pipe shall be of a quality equal to that manufactured by Extrusion Technologies, Inc. Ultra-Rib or an approved equal.  The pipe shall meet the requirements of ASTM F794 and shall have a smooth interior.  The pipe shall have a bell end and a spigot end which shall be connected using elastomeric gaskets.  The pipe stiffness shall be a minimum of 46 psi when tested at 5 percent deflection in accordance with ASTM D2412.

802-2.7  CORRUGATED POLYVINYL CHLORIDE STORM SEWER PIPE.  Corrugated polyvinyl chloride storm sewer pipe shall be of a quality equal to that manufactured by Extrusion Technologies, Inc. Ultra-Corr or an approved equal.  The pipe shall meet the requirements of ASTM F949 and shall have a smooth interior.  The pipe shall have a bell end and a spigot end which shall be connected using elastomeric gaskets.  The pipe stiffness shall be a minimum of 50 psi when tested at 5 percent deflection in accordance with ASTM D2412.

802-2.8  PERFORATED PIPE.  Perforated concrete pipe in sizes 4 inches and above shall conform to the requirements of ASTM C444, Type 1 or 2.  Corrugated HDPE perforated pipe in sizes 3 inches to 6 inches shall conform to ASTM F405.  Corrugated HDPE perforated pipe in sizes 8 inches to 24 inches shall conform to ASTM F667.  If PVC perforated pipe is selected, it must meet the requirement of Subsection 801-2.6 or an approved equal.

802-2.9  (TYPE OF PIPE) ARCH PIPE.  Arch pipe shall conform to the same requirements as listed for standard pipe of like material.

802-2.10  FLARED END SECTIONS.  Flared end sections shall be RCP material for the flared end section and two (2) adjacent pipe sections.  The two (2) pipe sections and the flared end section shall be tied together using Cretex joint ties or an approved equal.

802-2.11  CONCRETE MANHOLES AND INLETS.  Concrete manholes and inlets shall conform, in all respects, to Section 1205.

802-2.12  MORTAR.  Mortar for pipe joints and connections to other drainage structures shall be composed of 1 part, by volume, of portland cement and 2 parts of mortar sand.  The portland cement shall conform to the requirements of Subsection 501-2.2.  The sand shall conform to the requirements of Subsection 501-2.5.  Hydrated lime may be added to the mixture of sand and cement in an amount equal to 15 percent of the weight of cement used.  The hydrated lime shall meet the requirements of ASTM C6.

802-2.13  CONCRETE.  Concrete for pipe cradles shall conform to the requirements of Section 501.

802-2.14  CONCRETE PIPE JOINTS.  Concrete pipe joints for non-pressure pipe shall be sealed with a butyl joint mastic.  Butyl joint mastic shall be equal to EZ-STIK as manufactured by the Press-Seal Gasket Corporation or an approved equal.  The CONTRACTOR shall use 1/2-inch butyl for 12-inch to 18-inch RCP, 3/4-inch for 21-inch to 36-inch RCP, 1-inch for 42-inch to 66-inch RCP, and 1½-inch for 72-inch to 120-inch RCP.  Rubber-type gaskets for concrete low-head pressure pipe shall conform to the requirements of ASTM C443 and ASTM 361 if specified.

802-2.15  GASKET JOINT FOR PVC STORM SEWER PIPE.  Gaskets for PVC sewer pipe joints shall be of the elastomeric type providing a watertight seal.

802-2.16  BEDDING MATERIAL.  The bedding material shall be defined as stated in Subsection 801-2.9.

802-2.17  SUBCUT GRAVEL.  The subcut gravel shall be as defined in Subsection 801-2.10.

802-2.18  MARKING TAPE.  The CONTRACTOR will be required to furnish and install marking tape located 2 feet above the top of all storm sewer mains installed under the contract.  In cases where there is less than 30 inches of fill material over the top pf the pipe, the tape shall be placed 12 inches from the top of the pipe.  The tape shall be of the non-detectable type and shall have a minimum width of 5 inches.  The tape shall be green in color with the words "CAUTION SEWER LINE BELOW" imprinted on the tape in black capital letters.  The marking tape shall be equal to that manufactured by Griffolyn Company, Inc. standard grade.

Cost of marking tape and installation shall be considered incidental to other items.

802-2.19  RIPRAP.  Rock shall be hard, durable, angular in shape, and free from cracks, overburden, shale, and organic material.  The width and the thickness of a single stone shall each be less than one-third the length of the stone.  Rock shall not sustain a loss of more than 40 percent after 500 revolutions in an abrasion test conducted in accordance with ASTM C535-69.  Rock shall not sustain a loss of more than 10 percent after 12 cycles of freezing and thawing (AASHTO T103 for ledge rock, procedure A).  Rock shall have a minimum specific gravity of 2.50.

Contractor shall be responsible for all costs of testing rock for compliance with these specifications.  In lieu of testing proposed rock for compliance with these specifications, rock obtained from county or North Dakota Department of Transportation approved quarries may be used.  All rock materials considered for use as riprap shall have prior approval by the ENGINEER before being placed.

Gradation for Type VL, L, M, H, and VH riprap are as follows:

| Riprap | % Small than Given Size by Weight | Intermediate Rock Dimension (Inches) | d50* (Inches) |
| --- | --- | --- | --- |
| Type VL | 70-100 | 12 | − |
|  | 50-70 | 9 | − |
|  | 35-50 | 6 | 6** |
|  | 2-10 | 2 | − |
| Type L | 70-100 | 15 | − |
|  | 50-70 | 12 | − |
|  | 35-50 | 9 | 9** |
|  | 2-10 | 3 | − |
| Type M | 70-100 | 21 | − |
|  | 50-70 | 18 | − |
|  | 35-50 | 12 | 12 |
|  | 2-10 | 4 | − |
| Type H | 200 | 30 | − |
|  | 50-70 | 24 | − |
|  | 35-50 | 28 | 28 |
|  | 2-10 | 6 | − |
| Type VH | 100 | 42 | − |
|  | 50-70 | 33 | − |
|  | 35-50 | 24 | 24 |
|  | 2-10 | 9 | − |

*d50 = Mean particle size

**Bury types VL and L with native top soil and revegetate to protect from vandalism.

Filter fabric shall be used under the riprap as bedding.  The fabric shall have the same properties as, and be equal to, the nonwoven geotextile fabric Amoco 4551.  Filter fabric shall be installed in accordance with manufacturer’s recommendations.  All costs for providing and installing the filter fabric shall be incidental to the riprap.

Hand placement of riprap may be required to insure an acceptable gradation, uniform surface, and to fill gaps between larger rocks to cover any exposed filter fabric.

Because of this relatively small size and weight, Type VL riprap and Type L riprap shall be buried with topsoil and revegetated to protect the rock from vandalism.  All items shall be considered incidental to the bid price for riprap.

Riprap shall be measured by the ton and paid for at the unit price bid for “Riprap - Type ( )” complete, in place, and accepted by the ENGINEER.

802-2.20  RIPRAP GROUT.  Riprap grout shall be installed on a 4-inch thick layer of granular material.  The granular material shall be in accordance with Subsection 801-2.9 “Bedding Material.”  The riprap prior to the grout placement must be as clean as practical.  The grout shall be delivered to the place of final deposit by means that will insure uniformity and prevent segregation of the grout.  Placing of grout shall be obtained by pumping under pressure through a 2-inch maximum diameter hose to insure complete penetration of the grout into the rock layer.  A vibrator is to be employed near the nozzle during placement to aid the flow of the grout.  The excess grout must be removed immediately by washing to leave a clean rock face exposed.  Grout shall fill the voids to within approximately 4 inches of the riprap surface.  The recommended minimum grout specifications include entrained air, a 28-day strength of at least 2,400 pounds per square inch, and a high slump (5-7 inches) in order to penetrate either the full depth of the riprap layer or at least 2 feet where the riprap layer is thicker than 2 feet.  Concrete having maximum aggregate size of 3/4 inch may be substituted for grout when using Type M riprap or larger.

802-3  CONSTRUCTION REQUIREMENTS

802-3.1  EQUIPMENT.  All equipment necessary and required for the proper construction of storm sewers shall be on the project in first-class working condition and approved by the ENGINEER before construction is permitted to start.

The CONTRACTOR shall provide appropriate hoisting equipment to handle the pipe while unloading and placing it in its final position without damage to the pipe.

The CONTRACTOR shall provide method and means to obtain the required compaction of the pipe bed and the backfill as specified.

The CONTRACTOR shall provide a sufficient number of watertight sewer plugs to prevent infiltration of water and any other foreign material from entering the existing sewer system and the newly constructed sewer lines.

802-3.2  EXCAVATION AND PREPARATION OF TRENCH.  The trench shall be dug to the alignment and depth required and only so far in advance of pipe laying as the ENGINEER may permit.  The trench shall be so braced and drained so that workmen may work there safely and efficiently.  It is essential that the discharge from pumps be led to natural drainage channels, drains, or storm sewer.

The trench width may vary depending upon the depth of the trench and the nature of the excavated material, but in any case shall be of ample width to permit the pipe to be laid and joined properly and the backfill to be placed and compacted to the required density.  The maximum width of trench for calculating bedding material quantities shall not be more than 48 inches, and for pipe 15 inches or larger no more than 36 inches greater than the outside diameter of the pipe barrel.  HDPE sewer pipe shall have bedding material installed to 6 inches over the top of the pipe.  Bedding material from the center of the pipe to 6 inches over the pipe shall be considered incidental to the pipe items.

The trench shall be excavated below the required grade so that the pipe may be laid on 4 inches of bedding material.  If perforated storm drain is installed, the fine aggregate shall conform to Subsection 501-2.5.

Where the bottom of the trench uncovered at subgrade is unsuitable, and in the opinion of the ENGINEER cannot support the pipe, further depth and/or width shall be excavated and refilled to the pipe foundation grade with subcut gravel thoroughly compacted.  In this instance, subcut gravel shall be considered a pay item.,

If other approved means shall be adopted to assure a firm foundation for the pipe, the CONTRACTOR will be allowed extra compensation.  Extra compensation shall not be allowed for extra excavation and gravel used for seepage and ground water control.

If ordered in writing by the ENGINEER, the CONTRACTOR will be paid for any sheathing that the ENGINEER orders left in the trench in order to protect existing utilities or other items.  The price to be paid for such sheathing material will be the current invoice price of said materials or such lesser price as the CONTRACTOR and the ENGINEER may agree that the material is worth at the time it is left in the trench.

All broken pavement or sidewalks shall be removed from the site of the work and deposited at a place selected by the ENGINEER.  It shall be the responsibility of the CONTRACTOR to remove and replace at its own expense all sidewalk, curb, and gutter necessary for the installation of the pipe and manholes as shown on the plans and as directed by the ENGINEER, unless items are noted on plans.  The removal shall be complete to the nearest joint in order that the replacement might be made in a workmanlike manner.  No additional compensation will be allowed for this work and shall be included in the price bid for pipe or manhole installation.

All excavated material shall be piled in a manner that will not endanger the work and that will avoid obstructing sidewalks and driveways.  Gutters shall be kept clean or otherwise satisfactory provisions made for street drainage.

The use of trench digging machinery will be permitted except in places where operation of same will cause damage to trees, buildings, or existing structures above or below ground, in which case hand methods shall be employed.

The CONTRACTOR is assumed to be familiar with all federal, state, and local laws, codes, ordinances, and regulations which in any manner affect those engaged or employed in the work, the material, or equipment used in or upon the site, or in any way affect the conduct of the work.  No pleas of misunderstanding or ignorance on the part of the CONTRACTOR will, in any way, serve to modify the provisions of the contract.  The CONTRACTOR shall provide and maintain on a 24-hour basis all necessary safeguards such as watchmen, traffic control devices, and night lights at CONTRACTOR's own expense in accordance with Section 124.

Excavation for pipe laying operations shall be conducted in a manner so as to cause the least interruption to traffic.  Where traffic must cross open trenches, the CONTRACTOR shall provide suitable bridges at street intersections and driveways.  Hydrants under pressure, valve boxes, curb stop boxes, and other utility controls shall be left unobstructed and accessible during the construction period.

Adequate provisions shall be made for the flow of sewers, drains, and water courses encountered during construction, and the structures which may have been disturbed shall be satisfactorily restored upon completion of the work.

Prior to trenching along or making any connections to the existing storm drainage system, the CONTRACTOR shall prevent infiltration and foreign material from entering the existing storm drainage system.  Pipe plugs, diversion ditches, sediment traps, cofferdams, or other temporary facilities shall be installed so as to not disrupt existing drainage flow and shall remain in place until the construction has been accepted by the ENGINEER.

Trees, fences, poles, and all other property shall be protected unless their removal is authorized by the ENGINEER, and any property damages shall be satisfactorily restored by the CONTRACTOR.  The cost of removal shall be included in the price bid per linear foot of sewer pipe in place unless listed separately in the proposal.  Tree removal and root cutting shall be in conformance with Section 201.

802-3.3  ROCK EXCAVATION.  The rock excavation shall be as defined in Subsection 801-3.3.

802-3.4  PIPE LAYING.  Proper implements, tools, and equipment satisfactory to the ENGINEER shall be provided and used by the CONTRACTOR for the safe and convenient prosecution of the work.  All pipe and fittings shall be carefully lowered into the trench piece by piece by means of a derrick, ropes, or other suitable tools or equipment in such a manner as to prevent damage to the pipe.  Under no circumstance shall pipe be dropped or dumped into the trench.

After the trench has been excavated to the proper grade, the first pipe at the outlet end of the sewer shall be bedded to the proper line and grade with the bell end upstream.  All pipe shall be laid to line and grade.  The pipe shall be held in place by backfilling along the bottom and sides of the pipe section with bedding material, or in the case of perforated pipe, concrete sand, thoroughly tamped up to the centerline of the pipe and protected from movement.

During the pipe laying operation, the CONTRACTOR shall have available measures at the end of each workday, or to install during the workday, to prevent foreign material from entering the newly installed pipe.

The CONTRACTOR shall exercise due care so as to prevent water and other foreign matter from entering the newly constructed sewer mains at new manhole and inlet locations.

All joints shall be installed in accordance with the pipe manufacturer's instructions.

Connections between HDPE and RCP may be made using an internal coupler spigot adaptor equivalent to the Mar-Mac Coupler manufactured by Advanced Drainage Systems per Detail No. 802-2.  This work shall be incidental to the storm sewer pipe.

Where polyvinyl chloride sewer pipe is installed in a vitrified clay sewer line, VC to PVC adaptors shall be used at each junction.  Adapters shall be Strong Back RC Series repair couplers as manufactured by Fernco, Inc., or approved equal.

The cost of adapters shall be considered incidental to the unit price bid for cast iron sewer pipe or polyvinyl chloride sewer pipe.

The interior of the flexible pipes shall be cleaned as the work progresses.  The manholes and sewer pipe shall be flushed with clean water after completion and prior to acceptance by the ENGINEER.

802-3.5  6-INCH CLEANOUT - IN-LINE.  Where shown on the plans, storm sewer in-line cleanouts shall be constructed according to the corresponding detail (802-3) in the City of Watford City Construction Specifications and conform to the following criteria.  The pipe shall be polyvinyl chloride sanitary sewer (PVC) pipe.  Pipe that is15 inches or smaller shall conform to the requirements of ASTM D3034 for type PSM, PVC sewer pipe and fittings and shall have an SDR of 35, all of which shall be stamped on the pipe.  Polyvinyl chloride sewer pipe 18inches or larger shall conform to the requirements of ASTM F679-PS46.  PVC sewer main line pipe and PVC sewer service pipe shall have the elastomeric gasket type joint providing a watertight seal.  A solvent cement type joint will not be allowed.  PVC Wye branches shall be of the "factory assembled type."  The top of the pipe shall have a PVC threaded clean-out adapter with a PVC threaded plug placed under a Neenah No. R-1976 or East Jordan Iron Works No. 1578 or approved equal cover set in concrete as per the aforementioned detail.

802-3.6  6-Inch Cleanout - End of Run.  Where shown on the plans, storm sewer end-of-line cleanouts shall be constructed according to the corresponding detail (802-4) in the City of Watford City Construction Specifications and conform to the following criteria. The pipe shall be polyvinyl chloride sanitary sewer (PVC) pipe.  Pipe that is15 inches or smaller shall conform to the requirements of ASTM D3034 for type PSM, PVC sewer pipe and fittings and shall have an SDR of 35, all of which shall be stamped on the pipe.  Polyvinyl chloride sewer pipe 18inches or larger shall conform to the requirements of ASTM F679-PS46.  PVC sewer main line pipe and PVC sewer service pipe shall have the elastomeric gasket type joint providing a watertight seal.  A solvent cement type joint will not be allowed. The PVC 90 degree bend shall be a sweeping bend; right angle bends will not be accepted.  The top of the pipe shall have a PVC threaded clean-out adapter with a PVC threaded plug placed under a Neenah No. R-1976 or East Jordan Iron Works No. 1578 or approved equal cover set in concrete as per the aforementioned detail.

802-3.7  Drainage Aggregate.  The drainage aggregate shall meet either of the gradations in the following table.

| NDDOT Class 43 |
| --- |
| Sieve Size | Percent Passing |
| 3/8” | 100 |
| No. 4 | 20-70 |
| No. 8 | 0-17 |
| No. 200 | 0-2 |
| Shale | 8.0% |

| NDDOT Class 2 |
| --- |
| Sieve Size | Percent Passing |
| 3/4” | 100 |
| 3/8” | 50-95 |
| No. 10 | 0-15 |
| No. 30 | 0-4 |

802-3.8  BACKFILLING OF PIPE TRENCH.  After the pipe has been laid to line and grade, the trench shall be backfilled under and along the sides of the pipe up to the centerline of the pipe by thoroughly compacting bedding material into place so as to form a uniform bed for the pipe.  The compaction may be obtained by any approved method or equipment which will produce a uniform density meeting the requirement to obtain not less than 90 percent maximum dry density at optimum moisture made in accordance with ASTM D1557.  Care shall be exercised not to displace the pipe or injure the pipe during the compaction operations.  If the material in the trench is sand or gravel and acceptable to the ENGINEER, it will not be necessary to furnish any other material than that found within the trench to backfill up to the centerline of the pipe.  If sand or gravel is not found within the trench, the CONTRACTOR will be required to furnish bedding material.  It will be required to keep the gravel backfill completed within 3 lengths of the last pipe being laid and shall all be completed at the end of each day’s work.  After bedding operations, the trench shall be backfilled to a point 2 feet above the top of the pipe by any approved method or equipment which will produce a uniform density meeting the requirements to obtain not less than 90 percent of the maximum dry density at optimum moisture as determined by ASTM D1557.  The use of drop pile hammers, loaded or unloaded clam shells or backhoe buckets, or other similar equipment will not be permitted to obtain the required density below a point 2 feet above the top of the pipe.

When backfilling perforated pipe, the CONTRACTOR shall backfill with fine aggregate conforming to Subsection 501-2.5 to a point 2 feet below the finished surface.  The remaining 2 feet shall be backfilled with existing spoil.  The excess spoil shall be disposed of by the CONTRACTOR, incidental to other bid items.  Care shall be taken when backfilling around the pipe to prevent damage to the trench section surrounded by the geotextile fabric.

When backfilling flexible pipe, the CONTRACTOR shall place and compact bedding material to a point 6 inches above the top of the pipe.  Care shall be used not to over-deflect the roundness of the pipe.  For flexible pipe, the pipe bedding shall be considered incidental from the center of the pipe to 6 inches over the top of the outside of the pipe.

The remaining trench shall be backfilled in accordance with the specifications for the class of backfill as set forth in Subsection 801-3.6.  The areas for each class of backfill specified shall be designated on the plans.

The CONTRACTOR shall engage an independent soils testing laboratory, approved by the ENGINEER, to determine the soil proctors and perform the required compaction testing to be determined by the ENGINEER.

The compaction control tests for this section are based on one (1) individual compaction test per 300 feet of trench per 30 inches of backfill.  The CONTRACTOR shall be responsible for all retesting of failing tests and a proctor determination to represent each soil condition to be encountered on the project.  The time, locations, depths, and frequency of compaction testing shall be at the discretion of the ENGINEER during construction.  Should it become necessary to require an additional number of initial compaction tests, over and above the number specified for bidding purposes, the City of Watford City will assume the responsibility to perform said additional testing.  The CONTRACTOR, however, will be required to assume the cost of all retesting of failing tests regardless of the total number required during construction.

Compaction testing to determine densities may be accomplished with a nuclear density testing apparatus and/or the sand cone method.  Should disputes arise concerning test results, they will be resolved by using only the sand cone method.

Written reports of all test results shall be supplied to the ENGINEER and the CONTRACTOR by the testing laboratory as soon as possible.  To expedite construction progress, it is necessary that the CONTRACTOR and ENGINEER be furnished with the results of all tests as soon as testing is completed.

The availability of the independent testing laboratory when needed and speed of testing and reporting are to be considered the responsibility of the CONTRACTOR.

Compaction control tests as stated above shall be incidental to the price bid for Subsection 802-2 “Storm Sewer Pipe.”

All excess dirt and rock must be removed from the streets and disposed of at such places as the ENGINEER may direct.

The CONTRACTOR shall restore all shrubbery, fences, sod, or other surfaces disturbed to a condition equal to that before the work began, furnishing all labor and material incidental thereto.  If the area cannot be restored to the original line and cross section without the aid of grade stakes, they will be furnished by the ENGINEER at the CONTRACTOR’s expense.

Following the certification of completion by the ENGINEER, the CONTRACTOR shall maintain the surface of unpaved trenches, adjacent curbs and gutters, sidewalks, driveways, shrubbery, fences, sod, or other surfaces disturbed for a period of three (3) months thereafter.  All material and labor required for maintenance of the trenches and adjacent structures shall be supplied by the CONTRACTOR and the work done in a manner satisfactory to the ENGINEER.  The cost of backfilling and cleanup shall be included in the price per linear foot of sewer pipe in place.

802-3.9 BACKFILL CLASSIFICATIONS.  The  backfill classifications shall be as defined in Subsection 801-3.6.

802-3.10 Protecting Underground and Surface Structures.  Temporary support, adequate protection and maintenance of all underground and surface structures, drains, sewers, water mains, service connections for both sewer and water, and other obstructions encountered in the progress of the work shall be furnished by the CONTRACTOR all at its own expense as approved by the ENGINEER.

(a)  Deviations Occasioned by Other Utility Structures.  Wherever existing utility structures or branch connections leading to main sewer or water mains or other conduits, ducts, pipes, or structures form obstructions to the grade and alignment of the sewer to be laid, they shall be permanently supported, removed, relocated, or reconstructed by the CONTRACTOR through cooperation with the Owner of the utility, structure, or obstruction involved.  In those instances where their relocation or reconstruction is impracticable, a deviation from the line and grade will be ordered by the ENGINEER, and the change shall be made in the manner directed by the ENGINEER.

Wherever possible, all existing utility structures or branch connections leading therefrom will be located in advance of the excavation of the trench and properly marked.  The CONTRACTOR shall not cut any existing utility lines unless it is determined by the ENGINEER that it is necessary in order to install the new sewer pipes.  All utility lines that are cut by the CONTRACTOR with the approval of the ENGINEER shall be repaired or replaced by the CONTRACTOR as Extra Work.

All utility lines that are damaged by the CONTRACTOR shall be repaired or replaced by the CONTRACTOR at the CONTRACTOR's expense.

Wherever the ENGINEER shall determine it is necessary to remove or relocate any existing utility in order to properly install the new sewer pipe, the change shall be made in a manner directed by the ENGINEER and for which extra compensation will be allowed the CONTRACTOR.

(b)  Deviation Without Engineer’s Consent.  No deviation shall be made from the required line and grade established by the ENGINEER without the consent of the ENGINEER.

(c)  Subsurface Explorations.  Whenever necessary to determine the location of existing pipes, valves, or other underground structures, the CONTRACTOR, after examination of available records, shall make all explorations and excavations for such purpose incidental to the cost of pipe being installed.

802-3.11 CIRCULAR DEFLECTION TEST.  All fittings and plastic or HDPE pipe of 18 inches in diameter or larger shall be tested by the CONTRACTOR to ensure that circular deflections do not exceed the maximum allowable deflection.  The CONTRACTOR shall test in accordance with Subsection 801-3.8 "Circular Deflection Test."

  - MEASUREMENT AND PAYMENT

802-4.1 thru 4.24  (SIZE)-INCH STORM SEWER PIPE.  (Size)-Inch Storm Sewer Pipe shall be measured by the linear foot (LF) from centerline of manhole or inlet to centerline of manhole or inlet and paid for at the unit price for “(Size)-Inch Storm Sewer Pipe” complete, in place, and accepted by the ENGINEER.

802-4.25 thru 4.35  (SIZE)-INCH ARCH STORM SEWER PIPE.  (Size)-Inch Arch Storm Sewer Pipe shall be measured by the linear foot (LF) from centerline of manhole or inlet to centerline of manhole or inlet and paid for at the unit price bid for “(Size)-Inch Arch Storm Sewer Pipe” complete, in place, and accepted by the ENGINEER.

802-4.36 thru 4.50  (SIZE)-INCH CORRUGATED STEEL STORM SEWER PIPE.  (Size)-Inch Corrugated Steel Storm Sewer Pipe shall be measured by the linear foot (LF) from centerline of manhole or inlet to centerline of manhole or inlet and paid for at the unit price bid for “(Size)-Inch Corrugated Steel Storm Sewer Pipe” complete, in place, and accepted by the ENGINEER.

802-4.51 thru 4.79  (SIZE)-INCH FLARED END SECTION.  (Size)-Inch (Type of Pipe) Flared End Sections shall be measured on an individual unit basis (EA) and paid for at the unit price bid for “(Size)-Inch Flared End Section” complete, in place, and accepted by the ENGINEER.

802-4.80 thru 4.89  (SIZE)-INCH PERFORATED PIPE.  (Size)-Inch Perforated Pipe shall be measured by the linear foot (LF) in place and accepted by the ENGINEER.  Bends, tees, caps, coupling bands, filter fabric, and backfill sand in accordance with Subsection 501-2.5 shall be considered incidental to the unit price bid.

802-4.90  BEDDING MATERIAL.  Bedding Material shall be paid for under Subsection 801-4.60.

802-4.91  SUBCUT GRAVEL.  Subcut Gravel shall be measured and paid for under Subsection 801-4.61.

802-4.92  ROCK EXCAVATION.  Rock Excavation shall be measured and paid for under Subsection 801-4.62.

    - CONCRETE MANHOLES AND INLETS.  Concrete Manholes and Inlets shall be measured and paid for under Section 1205.

802-4.94 thru 802-4.98  RIPRAP - TYPE (  ).  Riprap - Type (  ) shall be measured by the ton and paid for at the unit price bid for “Riprap - Type (  )” complete, in place, and accepted by the ENGINEER.

802-4.99  RIPRAP GROUT.  Riprap Grout shall be paid for by the cubic yard (CY) of riprap grout installed and accepted by the ENGINEER.  Granular bedding material and installation shall be considered incidental to the price bid for grouted riprap.

802-4.100  6-INCH CLEANOUT - IN LINE.  6-Inch Cleanout - In Line shall be paid for by each in place and accepted by the ENGINEER.

802-4.101  6-INCH CLEANOUT - END OF RUN.  6-Inch Cleanout - End of Run shall be paid for by each in place and accepted by the ENGINEER.

802-4.102  DRAINAGE AGGREGATE.  Drainage Aggregate shall be paid by the ton for “Drainage Aggregate in place and accepted by the ENGINEER .