SECTION 302 – AGGREGATE BASE AND AGGREGATE SURFACE

302-1  DESCRIPTION

This item shall consist of aggregate base and aggregate surface composed of crushed, partially crushed, or uncrushed coarse aggregate bonded with either soil or fine aggregate or both.  It shall be constructed on a prepared underlying course in accordance with these specifications and shall conform to the dimensions and typical cross section shown on the plans and with the lines and grades established by the ENGINEER.

302-2  MATERIALS

It shall be the responsibility of the CONTRACTOR to furnish material which, when compacted, will support the construction equipment without showing signs of displacement.

302-2.1  Gradation.  The gradation of the aggregate base and aggregate surface material shall meet the requirements of one of the gradations given in the following table when tested in accordance with ASTM C136.

| Square Mesh Sieve Size | Percent By Weight Passing | Percent By Weight Passing |
| --- | --- | --- |
|  | Class 5 Aggregate Base | Class 13 Aggregate Surface |
| 1” | 100 | 100 |
| 3/4“ | 90-100 | 70-100 |
| No. 4 | 35-70 | 38-75 |
| No. 8 | - | 22-62 |
| No. 30 | 16-40 | 12-45 |
| No. 40 | - | - |
| No. 200 | 4-10 | 7-15 |
| P.I. | - | - |
| L.L. | - | - |
| % Shale & Rock in Total Sample | 12 | 12 |
| % L.A. Abrasion Loss | 50 (max.) | 50 (max.) |
| % Fractured Faces | 10 (min.) | 10 (min.) |

The maximum allowable P.I. shall be 6.0, except in the case where the P.I. computed by the formula 10 - (% of material passing the No. 40 sieve  10) results in a higher P.I., then the higher P.I. shall be the maximum allowable.  The P.I. and L.L. shall be reported to the nearest whole number.  When a P.I. greater than 6.0 is permitted, the maximum liquid limit shall be increased by the amount the computed P.I. exceeds 6.0.

The gradations in the table represent the limits which shall determine suitability of aggregate for use from the sources of supply.  The final gradations decided on within the limits designated in the table shall be well graded from coarse to fine and shall not vary from the low limit on one sieve to the high limit on the adjacent sieves, or vice versa.

All natural material passing an 8-inch ring and retained on the 1-inch sieve shall be crushed and uniformly mixed with the uncrushed material unless otherwise specified.

The amount of the fraction of material passing the No. 200 mesh sieve shall not exceed one-half the fraction passing the No. 40 mesh sieve.

The selection of any of the gradations shown in the table shall be such that the maximum size aggregate used in any course shall not be more than two-thirds the thickness of the layer of the course being constructed.

If filler in addition to that naturally present in the aggregate base and aggregate surface material is necessary for satisfactory bonding of the material for changing the soil constants of the material passing the No. 40 mesh sieve, or for correcting the gradation to the limitations of the specified gradation, it shall be uniformly blended with the aggregate base and aggregate surface material at the crushing and/or mixing plant.  The material for such purpose shall be obtained from sources approved by the ENGINEER.  The addition of filler may be composed of sand, but the amount of sand shall not exceed 20 percent by weight of the total combined base aggregate.  The sand shall pass a No. 4 mesh sieve and not more than 5 percent by weight shall pass a No. 200 mesh sieve.

Gravel pits from which the CONTRACTOR proposes to furnish this base material shall be approved prior to hauling to the project.

Sampling of the final aggregate base and aggregate surface material shall be performed by an independent testing laboratory approved by the ENGINEER to test the composition of the mixtures, the mineral aggregates, and the in-place density of the mixture.  Approval or disapproval of the material and reasons therefor will be by written order to the CONTRACTOR over the signature of the City Engineer.

302-2.2  BLENDED BASE.  This item shall consist of a ± 10% of blended material up to 50 percent recycled asphalt by volume, with crushed concrete, and Class 5 aggregate with up to 100 percent Class 5 aggregate constructed on a prepared subgrade in conformity with the dimensions and typical section shown on the plans.  A blend of recycled asphalt and crushed concrete may be supplied with approved gradation.  The blended base shall be deposited, spread, and shaped so the moist and compacted course conforms to the required grade and cross section.  The desired degree of compaction will be acceptable when the surface is tightly bound and shows no rutting or displacement under the roller operations.

General.  All final combined materials (i.e., Blended Base) shall meet the following requirements:

| Percent Passing Sieve Size for Blended Base |  |
| --- | --- |
| 1½“ | 100 |
| 1” | 90-100 |
| No. 4 | 35-85 |
| No. 30 | 16-50 |
| No. 200 | 0.0-12 |

302-2.3  Milling Material Patching.  Where an asphalt patch is required, the milling material salvaged on site shall be used in conjunction with stabilized gravel base for backfill in areas of sub-base failures.  The milling material in excess of 4 inches by 4 inches will not be allowed for backfilling.  In areas where there are no sub-base failures, the milling material shall be stockpiled at locations in need of this material as directed by the ENGINEER.

302-3  CONSTRUCTION REQUIREMENTS

302-3.1  Operations in Pits and Quarries.  All work involved in clearing and stripping pits and quarries, including handling of unsuitable material, shall be performed by the CONTRACTOR.  All material shall be handled in a manner that shall secure a uniform and satisfactory base product.  The base course material shall be obtained from sources that have been approved.

302-3.2  Equipment.  All equipment necessary for the proper construction of this work shall be on the project in first-class working condition and approved by the ENGINEER before construction is permitted to start.

302-3.3  Preparing Underlying Course.  The underlying course shall be checked and accepted by the ENGINEER before placing and spreading operations are started.  Any ruts or soft, yielding places due to improper drainage conditions, hauling, or any other cause shall be corrected and rolled to the required density before the base course is placed thereon.

Grade control between the edges of the pavement shall be accomplished by grade stakes, steel pins, or forms placed in lanes parallel to the centerline of the pavement at intervals sufficiently close that string lines or check boards may be placed between stakes, pins, or forms.

To protect the underlying course and to insure proper drainage, the spreading of the base shall begin along the centerline of the pavement on a crowned section or on the high side of the pavement with a one-way slope.

302-3.4  Methods of Production.

(a)  Plant Mix.  When provided in the proposal, or when selected by the CONTRACTOR and approved by the ENGINEER, the aggregate base and aggregate surface material shall be uniformly blended or mixed in an approved plant.  The mixing plant shall include bins for storing and batching of the aggregate, pump and tanks for water, and batch mixers of either the pugmill or drum type.  All mineral aggregates shall be batched into a mixer by weight.  The agitation shall be such that a thorough dispersion of moisture is obtained.  The size of the batch and the time of mixing shall be fixed by the ENGINEER and shall produce the results and requirements specified.  The base course material produced by combining two or more materials from different sources shall be mixed in a mixing plant described herein.  The mixture material shall be at a satisfactory moisture content to obtain maximum density.

(b)  Travel Plant.  When the use of a traveling plant is allowed, the plant shall blend and mix the materials to meet these specifications.  It shall accomplish a thorough mixing in one trip.  The agitation shall be such that the dispersion of the moisture is complete.  The machine shall move at a uniform rate of speed and this speed shall be regulated to fix the mixing time.  If a windrow-type of travel plant is employed for mixing, the aggregate shall be placed in windrows parallel to the pavement centerline.  The windrow volume shall be sufficient to cover exact areas planned.  The windrow contents shall produce a mixture of the required gradation and bonding qualities.  If a travel plant is used which is of the type that mixes previously spread aggregates in place, the material shall have been spread in such thickness and proportions as may be handled by the machine to develop a base course of the thickness of each layer and of the gradation required.  With either type of equipment, the mixed material shall be at satisfactory moisture content to obtain the maximum density.

(c)  Proportioning or Blending In Place.  When the aggregate base and aggregate surface materials are to be proportioned and mixed or blended in place, the different layers shall be placed and spread with the relative proportions of the components of the mixture being designated by the ENGINEER.  The base aggregate shall be deposited and spread evenly to a uniform thickness and width.  Then the binder or filler shall be deposited and spread evenly over the first layer.  There shall be as many layers of materials added as the ENGINEER may direct to obtain required gradation and layer thickness.  When the required amount of materials have been placed, they shall be thoroughly mixed and blended by means of approved graders, discs, harrows, rotary tillers, or a machine capable of combining these operations, supplemented by other suitable equipment if necessary.  The mixing shall continue until the mixture is uniform throughout and accepted by the ENGINEER.  Areas of segregated material shall be corrected by the addition of needed material and by remixing.  Water shall be uniformly applied, prior and during the mixing operation, if necessary, to maintain the material at the proper moisture content.  When the mixing and blending have been completed, the material shall be bladed and dragged, if necessary, until a smooth uniform surface is obtained, true to line and grade.

(d)  Materials of Proper Gradation.  When the entire aggregate base and aggregate surface material from coarse to fine is secured in a uniform and well graded condition and contains approximately the proper moisture, such approved material may be handled directly to the spreading equipment.  The material may be obtained from gravel pits, stockpiles, or produced from a crushing and screening plant with the proper blending.  The materials from these sources shall meet the requirements for gradation, quality, and consistency.  The intent of this section of these specifications is to secure materials that will not require further mixing.  The base material shall be at satisfactory moisture content to obtain maximum density.  Any minor deficiency or excess of moisture may be corrected by surface sprinkling or by aeration.  In such instances some mixing or manipulation may be required immediately preceding the rolling to obtain the required moisture content.  The final operation shall be blading or dragging, if necessary, to obtain a smooth uniform surface true to line and grade.

302-3.5  Methods of Spreading.

(a)  The aggregate base and aggregate surface material that is correctly proportioned or has been processed in a plant shall be placed on the prepared underlying course and compacted in layers of the thickness shown on the plans.  The depositing and spreading of the material shall commence where designated and shall progress continuously without breaks.  The material shall be deposited and spread in lanes in a uniform layer and without segregation of size to such loose depth that when compacted, the layer shall have the required thickness.  The base aggregate shall be spread by spreader boxes or other approved devices having positive thickness controls that shall spread the aggregate in the required amount to avoid or minimize the need for hand manipulation.  Dumping from vehicles in piles which require rehandling shall not be permitted.  Hauling over the uncompacted base course shall not be permitted.

(b)  The aggregate base and aggregate surface material that has been processed in a traveling plant or mixed and blended in place shall be spread in a uniform layer of required depth and width and to the typical cross section.  The spreading shall be by a self-powered blade grader, mechanical spreader, or other approved method.  In spreading, care shall be taken to prevent cutting into the underlying layer.  The material shall be bladed until a smooth, uniform surface is obtained, true to line and grade.

(c)  The aggregate base and aggregate surface shall be constructed in a layer not less than 3 inches nor more than 4 inches of compacted thickness.  The aggregate as spread shall be of uniform grading with no pockets of fine or coarse materials.  The aggregate, unless otherwise permitted by the ENGINEER, shall not be spread more than 2,000 square yards in advance of the rolling.  Any necessary sprinkling shall be kept within these limits.  No material shall be placed in snow or on a soft, muddy, or frozen course.

When more than one layer is required, the construction procedure described herein shall apply similarly to each layer.

The ENGINEER shall make tests to determine the maximum density and the proper moisture content of the base material, and this information will be available to the CONTRACTOR.  The base material shall be at a satisfactory moisture content when rolling is started, and any minor variation prior to or during rolling shall be corrected by sprinkling or by aeration if necessary.

During the mixing and spreading, sufficient caution shall be exercised to prevent the incorporation of subgrade, subbase, or shoulder material in the base course mixture.

302-3.6  Finishing and Compacting.  While spreading, the aggregate shall be thoroughly compacted by rolling.  The rolling shall progress gradually from the sides to the center of the lane under construction, or from one side toward previously placed material by lapping uniformly each preceding rear wheel track by one-half the width of such track.  Rolling shall continue until the entire area of the course has been rolled by the rear wheels.  The rolling shall continue until the aggregate is thoroughly set, the interstices of the material reduced to a minimum, and until creeping of the material ahead of the roller is no longer visible.  Rolling shall continue until the aggregate base and aggregate surface material has been compacted to not less than 95 percent of the maximum dry density at optimum moisture as determined by the compaction control tests specified in ASTM D1557 with a moisture content falling within plus or minus 3 percent of optimum moisture content.  Blading and rolling shall be done alternately as required or directed to obtain a smooth, even, and uniformly compacted base.

The course shall not be rolled when the underlying course is soft or yielding or when the rolling causes undulation in the base course.  When the rolling develops irregularities that exceed 1/2 inch when tested with a 16-foot straightedge, the irregular surface shall be loosened, refilled with the same kind of material as that used in constructing the course, and rolled again as required.

In areas inaccessible to rollers, the aggregate base and aggregate surface material shall be tamped thoroughly with approved mechanical tampers.

The sprinkling during rolling, if necessary, shall be in the amount and by equipment approved by the ENGINEER.

302-3.7  Surface Test.  After the course has been completely compacted, the surface shall be tested for smoothness and accuracy of grade and crown.  Any portion lacking the required smoothness or failing in accuracy of grade or crown shall be scarified, reshaped, recompacted, and otherwise manipulated as the ENGINEER may direct until the required smoothness and accuracy are obtained.  The finished surface shall not vary more than 1/2 inch from a 16-foot straightedge when applied to the surface parallel with and at right angles to the centerline.

302-3.8  Thickness.  The thickness of the aggregate base and aggregate surface shall be determined by depth tests or cores taken at intervals in such manner that each test shall represent no more than 300 square yards.  When the base deficiency is more than 1/2 inch, the CONTRACTOR shall correct such areas by scarifying, adding satisfactory base mixture, rolling, sprinkling, reshaping, and finishing in accordance with these specifications.  The CONTRACTOR shall replace at its expense the base material where borings have been taken for test purposes.

302-3.9  Protection.  Work on the aggregate base and aggregate surface shall not be accomplished during freezing temperatures nor when the subgrade is wet.  When the aggregates contain frozen materials or when the underlying course is frozen, the construction shall be stopped.

Hauling equipment may be routed over completed portions of the aggregate base and aggregate surface, provided no damage results, and provided that such equipment is routed over the full width of the base course to avoid rutting or uneven compaction.  However, the ENGINEER in charge shall have full and specific authority to stop all hauling over completed or partially completed base course when in his opinion such hauling is causing damage.  Any damage resulting to the base course from routing equipment over the base course shall be repaired by the CONTRACTOR at its own expense.

302-3.10  MAINTENANCE.  Following the completion of the aggregate base and aggregate surface, the CONTRACTOR shall perform all maintenance work necessary to keep the aggregate base and aggregate surface in a condition satisfactory for priming.  After priming, the surface shall be kept clean and free from foreign material.  The base course shall be properly drained at all times.  If cleaning is necessary, or if the prime coat becomes disturbed, any work or restitution necessary shall be performed at the expense of the CONTRACTOR.

Before preparations begin for application of a surface treatment or for a surface course, the base course shall be allowed to partially dry until the average moisture content of the full depth of base is less than 80 percent of the optimum moisture of the base mixture.  The drying shall not continue to the extent that the surface of the base becomes dusty with consequent loss of binder.  If during the curing period the surface of the base dries too fast, it shall be kept moist by sprinkling until such time as the prime coat is applied as directed.

302-3.11  TRUCK SCALES.  The aggregate base and aggregate surface shall be weighed on approved scales furnished by the CONTRACTOR or on public scales at the CONTRACTOR's expense.  Scales shall be inspected for accuracy and sealed as often as the ENGINEER deems necessary.

302-4  MEASUREMENT AND PAYMENT

302-4.1  CLASS 5 AGGREGATE BASE.  Class 5 Aggregate Base shall be measured by the ton in place and paid for at the unit price bid for “Class 5 Aggregate Base.”  This price shall be full compensation for furnishing all materials and for all operations, hauling, and placing of these materials and for all labor, equipment, tools, and incidentals necessary to complete this item.

302-4.2  CLASS 13 AGGREGATE SURFACE.  Class 13 Aggregate Surface shall be measured by the ton in place and paid for at the unit price bid for “Class 13 Aggregate Surface.”  This price shall be full compensation for furnishing all materials and for all operations, hauling, and placing of these materials and for all labor, equipment, tools, and incidentals necessary to complete this item.

302-4.3  BLENDED BASE.  Blended Base shall be measured by the cubic yard (CY) in place and paid for at the unit price bid for “Blended Base.”

The price shall include supplying recycled asphalt, Class 5 aggregate, crushed concrete, blending, gradation testing, loading, hauling, and placing of the material and for all labor, equipment, tools, and incidentals necessary to complete the item.

302-4.4  Milling Material Patching.  The milling material for patches shall be measured in place and paid for by the ton at the unit price bid for "Milling Material Patching.”

302-4.5  WATERING.  Water used under this item shall be in accordance with and paid for under Section 203.